## Sheet1
Purpose: To ensure function of Post Indicator Valves. Deluge Valves are Open Frequency: Monthly Date:
Ensure the PIV valves spin freely (couple turns closed then back open), are not leaking and are in the correct positions for normal operation. Make a note on the inspection procedure and submit a service request for repairs.
| Location | Comments/Repairs | Checked OK
1 | FPS-664(West Admin door)
2 | FPS-648(West Admin door)
3 | FPS-610(U2 East Turbine bldg. door)
4 | FPS- 665(West Fire Pump House)
5 | FPS-662 (West Fire Pump House)
6 | FPS-660(West Fire Pump House)
7 | FPS- 611(Warehouse #2)
8 | FPS- 613(Warehouse #2)
9 | FPS-828(North of Aux Boiler Bldg.)
10 | FPS-661(South of Gas Compressor)
11 | FPS-663(West U1 filter house)
12 | FPS-602(U1 East Turbine Bldg. door)
13 | FPS-659(U2 North of ACC)

## Sheet2
Purpose: To ensure function of Post Indicator Valves. Deluge Valves are Open Frequency: Monthly Date:
| Deluge Valves Checklist | LOCKED OPEN POSTITION | OPEN
14 | Diesel Fire pump | Tank Supply 00-VFPS635
15 |  | Suction ISO 00-VFPS803
16 |  | Discharge ISO 00-VFPS804
17 | Fire Pump Recirc | HDR back to Tank 00-VFPS656
18 | Electric Fire Pump | Tank Supply 00-VFPS680
19 |  | Suction ISO 00-VFPS801
20 |  | Discharge ISO 00-VFPS802
21 | Jockey Pump | Suction ISO 00-VFPS809
22 | Jockey Pump | Discharge ISO 00-VFPS810
23 | Aux Boiler Deluge ISO | ISO 00-IDV-FPS828
24 | Admin Building Zone #1 | Manual ISO
25 | Admin Building Zone #2 | Manual ISO
26 | Unit 1 Turbine Building zone 1 | Turbine building ground # 00-VFPS800
27 | Unit 1 Turbine Building zone 2 | ST/GT lube oil tank # 00-VFPS801
28 | Unit 1 Turbine Building zone 3 | ST/Gen coupling # 00-VPFS-802
29 | Unit 2 Turbine Building zone 1 | Turbine building ground # 00-VFPS814
30 | Unit 2 Turbine Building zone 2 | ST/GT lube oil tank # 00-VFPS815
31 | Unit 2 Turbine Building zone 3 | ST/Gen coupling # 00-VPFS-816
32 | Warehouse # 2 | Inside Fire Panel outside of Warehouse #2 (Key in box on East wall inside warehouse)
33 | Warehouse # 3 | Inside Fire Panel outside of Warehouse #3 (Key in box on East wall inside warehouse)
Inspected By: |  | Date Inspected: