## Sheet1
EPLog Study Area
| Server: | 192.168.190.85 |  | Log Name: | Event Log
| Event Time: |  |  |  | Area:
|  | Start Time: | 2026-06-28 08:48
|  | End Time: | 2026-06-29 08:48 |  | Location:
| Create Time: |  |  |  | Label:
Start Time:
|  | End Time: |  |  | Description: | *
| Event ID: |  |  |  | Created By:
Start ID:
|  | End ID: |  |  | Max Rows: | 100
[5 empty] | Hide Deactivated: | FALSE
Sort By: | Event Time | Reverse: | FALSE
Event Time | Description | Area | Location | Created By | Create Time | Deactivated By | Deactivate Time | Crew
2026-06-29 07:17 | Cleaned motor screens and filters on all three FGC's. Alpha high winding temp alarm cleared. | Plant Fuel Gas | Fuel Gas Compressors | abunker | 2026-06-29 07:17 |  |  | C Crew
2026-06-29 06:27 | Called local fire department to restore service back to administrative building fire panel #062118. | Water Treatment | General | abunker | 2026-06-29 06:27 |  |  | C Crew
2026-06-29 06:16 | Loto# 24646 hung for SWS sand filters. | Water Treatment | General | abunker | 2026-06-29 06:16 |  |  | C Crew
2026-06-29 05:00 | Lead:Danil K CRO:Adam B AO:Dustin L Relief Ops:Antony S/R Logged into Perry Weather Dashboard? (Y/N):Y Unit 1: 601.5 MW Unit 2: 617.780 Aux Boiler (1=ON, 0=OFF) 0.000 | Plant status | General | abunker | 2026-06-29 05:00 |  |  | C Crew
2026-06-29 04:00 | Chemical totes filled | Both Units 1 & 2 | Condensate | Sidney Bazemore | 2026-06-29 04:00 |  |  | D Crew
2026-06-28 22:21 | HP and IP valve test completed | Unit #2 | Steam Turbine | Sidney Bazemore | 2026-06-28 22:21 |  |  | D Crew
2026-06-28 17:14 | Lead: Andy G CRO:Sidney AO:Geo Relief Ops: Logged into Perry Weather Dashboard? (Y/N):Yes Unit 1: 590.7 MW Unit 2: 618.634 Aux Boiler (1=ON, 0=OFF) 0.000 | Plant status | General | Sidney Bazemore | 2026-06-28 17:14 |  |  | D Crew
2026-06-28 13:25 | Service request# 5547 written for FGC Alpha high winding temp. | Plant Fuel Gas | Fuel Gas Compressors | abunker | 2026-06-28 13:25 |  |  | C Crew
Note on A1: Please do not change anything in this area