## Sheet1
STANDARD | Original ID | Tag # | Description | Location
AUX STEAM/BYPASSES | 1 | 00-VAXS623A | Aux Steam Outlet Control Valve Upstream ISO EQ | Aux Boiler Steam Outlet Landing
AUX STEAM/BYPASSES | 2 | 00-VAXS623B | Aux Steam Outlet Control Valve Upstream ISO EQ | Aux Boiler Steam Outlet Landing
AUX STEAM/BYPASSES | 3 | 00-VAXS625A | Aux Steam Outlet Control Valve Downstream ISO EQ | Aux Boiler Steam Outlet Landing
AUX STEAM/BYPASSES | 4 | 00-VAXS625B | Aux Steam Outlet Control Valve Downstream ISO EQ | Aux Boiler Steam Outlet Landing
BFP A/BYPASSES | 5 | 01-MOV-BFW145A | BFP A HP Discharge MOV EQ | Pipe Rack 1st Level
BFP A/BYPASSES | 6 | 01-MOV-BFW145B | BFP A HP Discharge MOV EQ | Pipe Rack 1st Level
BFP B/BYPASSES | 7 | 01-MOV-BFW185A | BFP B HP Discharge MOV EQ | Pipe Rack 1st Level
BFP B/BYPASSES | 8 | 01-MOV-BFW185B | BFP B HP Discharge MOV EQ | Pipe Rack 1st Level
CND/BYPASSES | 9 | 01-MOV-CND201A | CND Iron Filter A Inlet MOV EQ | CND Pump Area
CND/BYPASSES | 10 | 01-MOV-CND201B | CND Iron Filter A Inlet MOV EQ | CND Pump Area
CND/BYPASSES | 11 | 01-MOV-CND211A | CND Iron Filter B Inlet MOV EQ | CND Pump Area
CND/BYPASSES | 12 | 01-MOV-CND211B | CND Iron Filter B Inlet MOV EQ | CND Pump Area
CND/BYPASSES | 13 | 01-MOV-CND221A | CND Iron Filter BYP MOV EQ | CND Pump Area
CND/BYPASSES | 14 | 01-MOV-CND221B | CND Iron Filter BYP MOV EQ | CND Pump Area
HRSG/BYPASSES | 15 | 01-MOV-HHS901A | HP Economizer FW Inlet MOV EQ | HRSG West Ground Level
HRSG/BYPASSES | 16 | 01-MOV-HHS901B | HP Economizer FW Inlet MOV EQ | HRSG West Ground Level
HRSG/BYPASSES | 17 | 01-MOV-HIS901A | IP Economizer FW Inlet MOV EQ | HRSG West Ground Level
HRSG/BYPASSES | 18 | 01-MOV-HIS901B | IP Economizer FW Inlet MOV EQ | HRSG West Ground Level
GLAND STEAM/BYPASSES | 19 | 01-VAXS148A | AXS Gland Steam CV Upstream ISO EQ | Condensate Corner
GLAND STEAM/BYPASSES | 20 | 01-VAXS148B | AXS Gland Steam CV Upstream ISO EQ | Condensate Corner
GLAND STEAM/BYPASSES | 21 | 01-VAXS149A | AXS Gland Steam CV Downstream ISO EQ | Condensate Corner
GLAND STEAM/BYPASSES | 22 | 01-VAXS149B | AXS Gland Steam CV Downstream ISO EQ | Condensate Corner
CRT/BYPASSES | 23 | 01-VAXS165A | CRT Sparging CV Downstream ISO EQ | CRT Landing
CRT/BYPASSES | 24 | 01-VAXS165A | CRT Sparging CV Downstream ISO EQ | CRT Landing
CRT/BYPASSES | 25 | 01-VAXS168A | CRT Sparging CV Upstream ISO EQ | CRT Landing
CRT/BYPASSES | 26 | 01-VAXS168B | CRT Sparging CV Upstream ISO EQ | CRT Landing
CRT/BYPASSES | 27 | 01-VAXS321B | AXS to CND Header ISO MOV EQ | Pipe Rack 2nd Level
BFW/BYPASSES | 28 | 01-VBFW105A | IP FW Strainer (BFW106) Inlet Downstream ISO EQ | Pipe Rack 1st Level
BFW/BYPASSES | 29 | 01-VBFW105B | IP FW Strainer (BFW106) Inlet Downstream ISO EQ | Pipe Rack 1st Level
BFW/BYPASSES | 30 | 01-VBFW106A | IP FW Strainer (BFW104) Inlet Upstream ISO EQ | Pipe Rack 1st Level
BFW/BYPASSES | 31 | 01-VBFW106B | IP FW Strainer (BFW104) Inlet Upstream ISO EQ | Pipe Rack 1st Level
BFW/BYPASSES | 32 | 01-VBFW107A | IP FW Strainer (BFW104) Outlet Upstream ISO EQ | Pipe Rack 1st Level
BFW/BYPASSES | 33 | 01-VBFW107B | IP FW Strainer (BFW104) Outlet Upstream ISO EQ | Pipe Rack 1st Level
BFW/BYPASSES | 34 | 01-VBFW108A | IP FW Strainer (BFW104) Outlet Downstream ISO EQ | Pipe Rack 1st Level
BFW/BYPASSES | 35 | 01-VBFW108B | IP FW Strainer (BFW104) Outlet Downstream ISO EQ | Pipe Rack 1st Level
BFW/BYPASSES | 36 | 01-VBFW109A | IP FW Strainer (BFW106) Outlet Downstream ISO EQ | Pipe Rack 1st Level
BFW/BYPASSES | 37 | 01-VBFW109B | IP FW Strainer (BFW106) Outlet Downstream ISO EQ | Pipe Rack 1st Level
BFW/BYPASSES | 38 | 01-VBFW111A | IP FW Strainer (BFW104) Inlet Downstream ISO EQ | Pipe Rack 1st Level
BFW/BYPASSES | 39 | 01-VBFW111B | IP FW Strainer (BFW104) Inlet Downstream ISO EQ | Pipe Rack 1st Level
BFW/BYPASSES | 40 | 01-VBFW118A | HRH Term. Attemp. CV Downstream ISO EQ | Pipe Rack 2nd Level
BFW/BYPASSES | 41 | 01-VBFW118B | HRH Term. Attemp. CV Downstream ISO EQ | Pipe Rack 2nd Level
BFW/BYPASSES | 42 | 01-VBFW128A | HP BYP Attemp. IP FW CV Inlet Upstream ISO EQ | Pipe Rack 3rd Level
BFW/BYPASSES | 43 | 01-VBFW128B | HP BYP Attemp. IP FW CV Inlet Upstream ISO EQ | Pipe Rack 3rd Level
BFW/BYPASSES | 44 | 01-VBFW129A | HP BYP Attemp. IP FW CV Inlet Downstream ISO EQ | Pipe Rack 3rd Level
BFW/BYPASSES | 45 | 01-VBFW129B | HP BYP Attemp. IP FW CV Inlet Downstream ISO EQ | Pipe Rack 3rd Level
BFP/BYPASSES | 46 | 01-VBFW152A | LP Drum to BFP Suction ISO EQ | Pipe Rack 1st Level
BFP/BYPASSES | 47 | 01-VBFW152B | LP Drum to BFP Suction ISO EQ | Pipe Rack 1st Level
BFP/BYPASSES | 48 | 01-VBFW215A | BFP A Recirc Strainer Inlet ISO EQ | CRT Area
BFP/BYPASSES | 49 | 01-VBFW215B | BFP A Recirc Strainer Inlet ISO EQ | CRT Area
BFP/BYPASSES | 50 | 01-VBFW232A | BFP B Recirc Strainer Inlet ISO EQ | CRT Area
BFP/BYPASSES | 51 | 01-VBFW232B | BFP B Recirc Strainer Inlet ISO EQ | CRT Area
BFP/BYPASSES | 52 | 01-VBFW264A | CND to BFP Suction ISO EQ | Pipe Rack 1st Level
BFP/BYPASSES | 53 | 01-VBFW264B | CND to BFP Suction ISO EQ | Pipe Rack 1st Level
BFP/BYPASSES | 54 | 01-VBFW265A | BFP A Suction ISO EQ | Pipe Rack 1st Level
BFP/BYPASSES | 55 | 01-VBFW265B | BFP A Suction ISO EQ | Pipe Rack 1st Level
BFP/BYPASSES | 56 | 01-VBFW266A | BFP B Suction ISO EQ | Pipe Rack 1st Level
BFP/BYPASSES | 57 | 01-VBFW266B | BFP B Suction ISO EQ | Pipe Rack 1st Level
BFP/BYPASSES | 58 | 01-VBFW269A | BFP A IP Outlet ISO EQ | Pipe Rack 1st Level
BFP/BYPASSES | 59 | 01-VBFW269B | BFP A IP Outlet ISO EQ | Pipe Rack 1st Level
BFP/BYPASSES | 60 | 01-VBFW270A | BFP B IP Outlet ISO EQ | Pipe Rack 1st Level
BFP/BYPASSES | 61 | 01-VBFW270B | BFP B IP Outlet ISO EQ | Pipe Rack 1st Level
BFP/BYPASSES | 62 | 01-VBFW271A | BFP A HP Discharge MAN ISO EQ | Pipe Rack 1st Level
BFP/BYPASSES | 63 | 01-VBFW271B | BFP A HP Discharge MAN ISO EQ | Pipe Rack 1st Level
BFP/BYPASSES | 64 | 01-VBFW272A | BFP B HP Discharge MAN ISO EQ | Pipe Rack 1st Level
BFP/BYPASSES | 65 | 01-VBFW272B | BFP B HP Discharge MAN ISO EQ | Pipe Rack 1st Level
BFW/BYPASSES | 66 | 01-VBFW290A | FGPH to CRT Strainer Downstream ISO EQ | CRT Area
BFW/BYPASSES | 67 | 01-VBFW290B | FGPH to CRT Strainer Downstream ISO EQ | CRT Area
BFW/BYPASSES | 68 | 01-VBFW300A | TCA FW Inlet MAN ISO EQ | Pipe Rack 1st Level
BFW/BYPASSES | 69 | 01-VBFW300B | TCA FW Inlet MAN ISO EQ | Pipe Rack 1st Level
BFW/BYPASSES | 70 | 01-VBFW306A | TCA FW Outlet MAN ISO EQ | Pipe Rack 1st Level
BFW/BYPASSES | 71 | 01-VBFW306B | TCA FW Outlet MAN ISO EQ | Pipe Rack 1st Level
BFW/BYPASSES | 72 | 01-VBFW330A | TCA to CRT Strainer Upstream ISO EQ | CRT Area
BFW/BYPASSES | 73 | 01-VBFW330B | TCA to CRT Strainer Upstream ISO EQ | CRT Area
BFW/BYPASSES | 74 | 01-VBFW344A | IP FW to FGPH High Flow CV ISO EQ | FGPH Area
BFW/BYPASSES | 75 | 01-VBFW344B | IP FW to FGPH High Flow CV ISO EQ | FGPH Area
BFW/BYPASSES | 76 | 01-VBFW345A | IP FW to FGPH High Flow CV ISO EQ | FGPH Area
BFW/BYPASSES | 77 | 01-VBFW345B | IP FW to FGPH High Flow CV ISO EQ | FGPH Area
BFW/BYPASSES | 78 | 01-VBFW350A | IP FW to FGPH Inlet Upstream ISO EQ | FGPH Area
BFW/BYPASSES | 79 | 01-VBFW350B | IP FW to FGPH Inlet Upstream ISO EQ | FGPH Area
BFW/BYPASSES | 80 | 01-VBFW352A | IP FW to FGPH Inlet Downstream ISO EQ | FGPH Area
BFW/BYPASSES | 81 | 01-VBFW352B | IP FW to FGPH Inlet Downstream ISO EQ | FGPH Area
BFW/BYPASSES | 82 | 01-VBFW361A | FGPH to CRT Strainer Upstream ISO EQ | CRT Area
BFW/BYPASSES | 83 | 01-VBFW361B | FGPH to CRT Strainer Upstream ISO EQ | CRT Area
BFW/BYPASSES | 84 | 01-VBFW375A | HP FW Strainer (BFW100) Upstream Inlet ISO EQ | Pipe Rack 1st Level
BFW/BYPASSES | 85 | 01-VBFW375B | HP FW Strainer (BFW100) Upstream Inlet ISO EQ | Pipe Rack 1st Level
BFW/BYPASSES | 86 | 01-VBFW376A | HP FW Strainer (BFW101) Downstream Inlet ISO EQ | Pipe Rack 1st Level
BFW/BYPASSES | 87 | 01-VBFW376B | HP FW Strainer (BFW101) Downstream Inlet ISO EQ | Pipe Rack 1st Level
BFW/BYPASSES | 88 | 01-VBFW383A | HP FW Strainer (BFW101) Upstream Outlet ISO EQ | Pipe Rack 1st Level
BFW/BYPASSES | 89 | 01-VBFW383B | HP FW Strainer (BFW101) Upstream Outlet ISO EQ | Pipe Rack 1st Level
BFW/BYPASSES | 90 | 01-VBFW388A | IP FW Strainer (BFW106) Inlet Upstream ISO EQ | Pipe Rack 1st Level
BFW/BYPASSES | 91 | 01-VBFW388B | IP FW Strainer (BFW106) Inlet Upstream ISO EQ | Pipe Rack 1st Level
BFW/BYPASSES | 92 | 01-VBFW391A | IP FW Strainer (BFW106) Outlet Upstream ISO EQ | Pipe Rack 1st Level
BFW/BYPASSES | 93 | 01-VBFW391B | IP FW Strainer (BFW106) Outlet Upstream ISO EQ | Pipe Rack 1st Level
BFW/BYPASSES | 94 | 01-VBFW505A | HP Term Attemp. HP FW Downstream ISO EQ | Pipe Rack 2nd Level
BFW/BYPASSES | 95 | 01-VBFW505B | HP Term Attemp. HP FW Downstream ISO EQ | Pipe Rack 2nd Level
BFW/BYPASSES | 96 | 01-VBFW518A | HP BYP Attemp. IP FW CV Outlet ISO EQ | Pipe Rack 3rd Level
BFW/BYPASSES | 97 | 01-VBFW518B | HP BYP Attemp. IP FW CV Outlet ISO EQ | Pipe Rack 3rd Level
BFW/BYPASSES | 98 | 01-VBFW521A | HP FW Strainer (BFW100) Downstream Inlet ISO EQ | Pipe Rack 1st Level
BFW/BYPASSES | 99 | 01-VBFW521B | HP FW Strainer (BFW100) Downstream Inlet ISO EQ | Pipe Rack 1st Level
BFW/BYPASSES | 100 | 01-VBFW523A | HP FW Strainer (BFW100) Upstream Outlet ISO EQ | Pipe Rack 1st Level
BFW/BYPASSES | 101 | 01-VBFW523B | HP FW Strainer (BFW100) Upstream Outlet ISO EQ | Pipe Rack 1st Level
BFW/BYPASSES | 102 | 01-VBFW525A | HP FW Strainer (BFW101) Downstream Outlet ISO EQ | Pipe Rack 1st Level
BFW/BYPASSES | 103 | 01-VBFW525B | HP FW Strainer (BFW101) Downstream Outlet ISO EQ | Pipe Rack 1st Level
BFW/BYPASSES | 104 | 01-VBFW531A | HP Term Attemp. HP FW Upsteam ISO EQ | Pipe Rack 2nd Level
BFW/BYPASSES | 105 | 01-VBFW531B | HP Term Attemp. HP FW Upsteam ISO EQ | Pipe Rack 2nd Level
BFW/BYPASSES | 106 | 01-VBFW549A | HP FW Strainer (BFW101) Upstream Inlet ISO EQ | Pipe Rack 1st Level
BFW/BYPASSES | 107 | 01-VBFW549B | HP FW Strainer (BFW101) Upstream Inlet ISO EQ | Pipe Rack 1st Level
BFW/BYPASSES | 108 | 01-VBFW555A | HP FW Strainer (BFW100) Downstream Outlet ISO EQ | Pipe Rack 1st Level
BFW/BYPASSES | 109 | 01-VBFW555B | HP FW Strainer (BFW100) Downstream Outlet ISO EQ | Pipe Rack 1st Level
BFW/BYPASSES | 110 | 01-VBFW574A | HRH Term. Attemp. IP FW Upstream ISO EQ | Pipe Rack 2nd Level
BFW/BYPASSES | 111 | 01-VBFW574B | HRH Term. Attemp. IP FW Upstream ISO EQ | Pipe Rack 2nd Level
BFW/BYPASSES | 112 | 01-VBFW575A | HRH Term. Attemp. IP FW Downstream ISO EQ | Pipe Rack 2nd Level
BFW/BYPASSES | 113 | 01-VBFW575B | HRH Term. Attemp. IP FW Downstream ISO EQ | Pipe Rack 2nd Level
BFW/BYPASSES | 114 | 01-VBFW922A | TCA to CRT Strainer Downstream ISO EQ | CRT Area
BFW/BYPASSES | 115 | 01-VBFW922B | TCA to CRT Strainer Downstream ISO EQ | CRT Area
CND/BYPASSES | 116 | 01-VCND128A | CND Pump A MAN ISO EQ | CND Pump Area
CND/BYPASSES | 117 | 01-VCND128B | CND Pump A MAN ISO EQ | CND Pump Area
CND/BYPASSES | 118 | 01-VCND160A | CND Iron Filter BYP Downstream ISO EQ | CND Pump Area
CND/BYPASSES | 119 | 01-VCND160B | CND Iron Filter BYP Downstream ISO EQ | CND Pump Area
CND/BYPASSES | 120 | 01-VCND163A | CND Iron Filter BYP Upstream ISO EQ | CND Pump Area
CND/BYPASSES | 121 | 01-VCND163B | CND Iron Filter BYP Upstream ISO EQ | CND Pump Area
CND/BYPASSES | 122 | 01-VCND172A | CND Iron Filter A Outlet EQ | CND Pump Area
CND/BYPASSES | 123 | 01-VCND172B | CND Iron Filter A Outlet EQ | CND Pump Area
CND/BYPASSES | 124 | 01-VCND174A | CND Iron Filter B Outlet EQ | CND Pump Area
CND/BYPASSES | 125 | 01-VCND174B | CND Iron Filter B Outlet EQ | CND Pump Area
CND/BYPASSES | 126 | 01-VCND194A | CND Pump B MAN ISO EQ | CND Pump Area
CND/BYPASSES | 127 | 01-VCND194B | CND Pump B MAN ISO EQ | CND Pump Area
CND/BYPASSES | 128 | 01-VCND329A | CND Pump C MAN ISO EQ | CND Pump Area
CND/BYPASSES | 129 | 01-VCND329B | CND Pump C MAN ISO EQ | CND Pump Area
AUX STEAM/BYPASSES | 130 | 01-VCRH180A | AXS Letdown Low Flow CV Upstream ISO EQ | Pipe Rack 3rd Level
AUX STEAM/BYPASSES | 131 | 01-VCRH180B | AXS Letdown Low Flow CV Upstream ISO EQ | Pipe Rack 3rd Level
AUX STEAM/BYPASSES | 132 | 01-VCRH181A | AXS Letdown High Flow CV Upstream ISO EQ | Pipe Rack 3rd Level
AUX STEAM/BYPASSES | 133 | 01-VCRH181B | AXS Letdown High Flow CV Upstream ISO EQ | Pipe Rack 3rd Level
AUX STEAM/BYPASSES | 134 | 01-VCRH183A | AXS Letdown Low Flow CV Downstream ISO EQ | Pipe Rack 3rd Level
AUX STEAM/BYPASSES | 135 | 01-VCRH183B | AXS Letdown Low Flow CV Downstream ISO EQ | Pipe Rack 3rd Level
AUX STEAM/BYPASSES | 136 | 01-VCRH184A | AXS Letdown High Flow CV Downstream ISO EQ | Pipe Rack 3rd Level
AUX STEAM/BYPASSES | 137 | 01-VCRH184B | AXS Letdown High Flow CV Downstream ISO EQ | Pipe Rack 3rd Level
HRSG/BYPASSES | 138 | 01-VHIS901A | IP Economizer FW Inlet MAN ISO EQ | HRSG West Ground Level
HRSG/BYPASSES | 139 | 01-VHIS901B | IP Economizer FW Inlet MAN ISO EQ | HRSG West Ground Level
HRSG/BYPASSES | 140 | 01-VHLS904A | LP FW Preheater Cold Inlet ISO EQ | HRSG NE Ground Level
HRSG/BYPASSES | 141 | 01-VHLS904B | LP FW Preheater Cold Inlet ISO EQ | HRSG NE Ground Level
HRSG/BYPASSES | 142 | 01-VHLS905A | LP FW Preheater Hot Inlet ISO EQ | HRSG NE Ground Level
HRSG/BYPASSES | 143 | 01-VHLS905B | LP FW Preheater Hot Inlet ISO EQ | HRSG NE Ground Level
HRSG/BYPASSES | 144 | 01-VHLS907A | LP FW Preheater Cold Outlet ISO EQ | HRSG NE Ground Level
HRSG/BYPASSES | 145 | 01-VHLS907B | LP FW Preheater Cold Outlet ISO EQ | HRSG NE Ground Level
HRSG/BYPASSES | 146 | 01-VHLS908A | LP FW Preheater Hot Outlet ISO EQ | HRSG NE Ground Level
HRSG/BYPASSES | 147 | 01-VHLS908B | LP FW Preheater Hot Outlet ISO EQ | HRSG NE Ground Level
HRSG/BYPASSES | 148 | 01-VHLS909A | LP FW Preheater BYP EQ | HRSG NE Ground Level
HRSG/BYPASSES | 149 | 01-VHLS909B | LP FW Preheater BYP EQ | HRSG NE Ground Level
| 150 | 02-MOV-BFW145A | BFP A HP Discharge MOV EQ | Pipe Rack 1st Level
| 151 | 02-MOV-BFW145B | BFP A HP Discharge MOV EQ | Pipe Rack 1st Level
| 152 | 02-MOV-BFW185A | BFP B HP Discharge MOV EQ | Pipe Rack 1st Level
| 153 | 02-MOV-BFW185B | BFP B HP Discharge MOV EQ | Pipe Rack 1st Level
| 154 | 02-MOV-CND201A | CND Iron Filter A Inlet MOV EQ | CND Pump Area
| 155 | 02-MOV-CND201B | CND Iron Filter A Inlet MOV EQ | CND Pump Area
| 156 | 02-MOV-CND211A | CND Iron Filter B Inlet MOV EQ | CND Pump Area
| 157 | 02-MOV-CND211B | CND Iron Filter B Inlet MOV EQ | CND Pump Area
| 158 | 02-MOV-CND221A | CND Iron Filter BYP MOV EQ | CND Pump Area
| 159 | 02-MOV-CND221B | CND Iron Filter BYP MOV EQ | CND Pump Area
| 160 | 02-MOV-HHS901A | HP Economizer FW Inlet MOV EQ | HRSG West Ground Level
| 161 | 02-MOV-HHS901B | HP Economizer FW Inlet MOV EQ | HRSG West Ground Level
| 162 | 02-MOV-HIS901A | IP Economizer FW Inlet MOV EQ | HRSG West Ground Level
| 163 | 02-MOV-HIS901B | IP Economizer FW Inlet MOV EQ | HRSG West Ground Level
| 164 | 02-VAXS148A | AXS Gland Steam CV Upstream ISO EQ | Condensate Corner
| 165 | 02-VAXS148B | AXS Gland Steam CV Upstream ISO EQ | Condensate Corner
| 166 | 02-VAXS149A | AXS Gland Steam CV Downstream ISO EQ | Condensate Corner
| 167 | 02-VAXS149B | AXS Gland Steam CV Downstream ISO EQ | Condensate Corner
| 168 | 02-VAXS165A | CRT Sparging CV Downstream ISO EQ | CRT Landing
| 169 | 02-VAXS165A | CRT Sparging CV Downstream ISO EQ | CRT Landing
| 170 | 02-VAXS168A | CRT Sparging CV Upstream ISO EQ | CRT Landing
| 171 | 02-VAXS168B | CRT Sparging CV Upstream ISO EQ | CRT Landing
| 172 | 02-VAXS321B | AXS to CND Header ISO MOV EQ | Pipe Rack 2nd Level
| 173 | 02-VBFW105A | IP FW Strainer (BFW106) Inlet Downstream ISO EQ | Pipe Rack 1st Level
| 174 | 02-VBFW105B | IP FW Strainer (BFW106) Inlet Downstream ISO EQ | Pipe Rack 1st Level
| 175 | 02-VBFW106A | IP FW Strainer (BFW104) Inlet Upstream ISO EQ | Pipe Rack 1st Level
| 176 | 02-VBFW106B | IP FW Strainer (BFW104) Inlet Upstream ISO EQ | Pipe Rack 1st Level
| 177 | 02-VBFW107A | IP FW Strainer (BFW104) Outlet Upstream ISO EQ | Pipe Rack 1st Level
| 178 | 02-VBFW107B | IP FW Strainer (BFW104) Outlet Upstream ISO EQ | Pipe Rack 1st Level
| 179 | 02-VBFW108A | IP FW Strainer (BFW104) Outlet Downstream ISO EQ | Pipe Rack 1st Level
| 180 | 02-VBFW108B | IP FW Strainer (BFW104) Outlet Downstream ISO EQ | Pipe Rack 1st Level
| 181 | 02-VBFW109A | IP FW Strainer (BFW106) Outlet Downstream ISO EQ | Pipe Rack 1st Level
| 182 | 02-VBFW109B | IP FW Strainer (BFW106) Outlet Downstream ISO EQ | Pipe Rack 1st Level
| 183 | 02-VBFW111A | IP FW Strainer (BFW104) Inlet Downstream ISO EQ | Pipe Rack 1st Level
| 184 | 02-VBFW111B | IP FW Strainer (BFW104) Inlet Downstream ISO EQ | Pipe Rack 1st Level
| 185 | 02-VBFW118A | HRH Term. Attemp. CV Downstream ISO EQ | Pipe Rack 2nd Level
| 186 | 02-VBFW118B | HRH Term. Attemp. CV Downstream ISO EQ | Pipe Rack 2nd Level
| 187 | 02-VBFW128A | HP BYP Attemp. IP FW CV Inlet Upstream ISO EQ | Pipe Rack 3rd Level
| 188 | 02-VBFW128B | HP BYP Attemp. IP FW CV Inlet Upstream ISO EQ | Pipe Rack 3rd Level
| 189 | 02-VBFW129A | HP BYP Attemp. IP FW CV Inlet Downstream ISO EQ | Pipe Rack 3rd Level
| 190 | 02-VBFW129B | HP BYP Attemp. IP FW CV Inlet Downstream ISO EQ | Pipe Rack 3rd Level
| 191 | 02-VBFW152A | LP Drum to BFP Suction ISO EQ | Pipe Rack 1st Level
| 192 | 02-VBFW152B | LP Drum to BFP Suction ISO EQ | Pipe Rack 1st Level
| 193 | 02-VBFW215A | BFP A Recirc Strainer Inlet ISO EQ | CRT Area
| 194 | 02-VBFW215B | BFP A Recirc Strainer Inlet ISO EQ | CRT Area
| 195 | 02-VBFW232A | BFP B Recirc Strainer Inlet ISO EQ | CRT Area
| 196 | 02-VBFW232B | BFP B Recirc Strainer Inlet ISO EQ | CRT Area
| 197 | 02-VBFW264A | CND to BFP Suction ISO EQ | Pipe Rack 1st Level
| 198 | 02-VBFW264B | CND to BFP Suction ISO EQ | Pipe Rack 1st Level
| 199 | 02-VBFW265A | BFP A Suction ISO EQ | Pipe Rack 1st Level
| 200 | 02-VBFW265B | BFP A Suction ISO EQ | Pipe Rack 1st Level
| 201 | 02-VBFW266A | BFP B Suction ISO EQ | Pipe Rack 1st Level
| 202 | 02-VBFW266B | BFP B Suction ISO EQ | Pipe Rack 1st Level
| 203 | 02-VBFW269A | BFP A IP Outlet ISO EQ | Pipe Rack 1st Level
| 204 | 02-VBFW269B | BFP A IP Outlet ISO EQ | Pipe Rack 1st Level
| 205 | 02-VBFW270A | BFP B IP Outlet ISO EQ | Pipe Rack 1st Level
| 206 | 02-VBFW270B | BFP B IP Outlet ISO EQ | Pipe Rack 1st Level
| 207 | 02-VBFW271A | BFP A HP Discharge MAN ISO EQ | Pipe Rack 1st Level
| 208 | 02-VBFW271B | BFP A HP Discharge MAN ISO EQ | Pipe Rack 1st Level
| 209 | 02-VBFW272A | BFP B HP Discharge MAN ISO EQ | Pipe Rack 1st Level
| 210 | 02-VBFW272B | BFP B HP Discharge MAN ISO EQ | Pipe Rack 1st Level
| 211 | 02-VBFW290A | FGPH to CRT Strainer Downstream ISO EQ | CRT Area
| 212 | 02-VBFW290B | FGPH to CRT Strainer Downstream ISO EQ | CRT Area
| 213 | 02-VBFW300A | TCA FW Inlet MAN ISO EQ | Pipe Rack 1st Level
| 214 | 02-VBFW300B | TCA FW Inlet MAN ISO EQ | Pipe Rack 1st Level
| 215 | 02-VBFW306A | TCA FW Outlet MAN ISO EQ | Pipe Rack 1st Level
| 216 | 02-VBFW306B | TCA FW Outlet MAN ISO EQ | Pipe Rack 1st Level
| 217 | 02-VBFW330A | TCA to CRT Strainer Upstream ISO EQ | CRT Area
| 218 | 02-VBFW330B | TCA to CRT Strainer Upstream ISO EQ | CRT Area
| 219 | 02-VBFW344A | IP FW to FGPH High Flow CV ISO EQ | FGPH Area
| 220 | 02-VBFW344B | IP FW to FGPH High Flow CV ISO EQ | FGPH Area
| 221 | 02-VBFW345A | IP FW to FGPH High Flow CV ISO EQ | FGPH Area
| 222 | 02-VBFW345B | IP FW to FGPH High Flow CV ISO EQ | FGPH Area
| 223 | 02-VBFW350A | IP FW to FGPH Inlet Upstream ISO EQ | FGPH Area
| 224 | 02-VBFW350B | IP FW to FGPH Inlet Upstream ISO EQ | FGPH Area
| 225 | 02-VBFW352A | IP FW to FGPH Inlet Downstream ISO EQ | FGPH Area
| 226 | 02-VBFW352B | IP FW to FGPH Inlet Downstream ISO EQ | FGPH Area
| 227 | 02-VBFW361A | FGPH to CRT Strainer Upstream ISO EQ | CRT Area
| 228 | 02-VBFW361B | FGPH to CRT Strainer Upstream ISO EQ | CRT Area
| 229 | 02-VBFW375A | HP FW Strainer (BFW100) Upstream Inlet ISO EQ | Pipe Rack 1st Level
| 230 | 02-VBFW375B | HP FW Strainer (BFW100) Upstream Inlet ISO EQ | Pipe Rack 1st Level
| 231 | 02-VBFW376A | HP FW Strainer (BFW101) Downstream Inlet ISO EQ | Pipe Rack 1st Level
| 232 | 02-VBFW376B | HP FW Strainer (BFW101) Downstream Inlet ISO EQ | Pipe Rack 1st Level
| 233 | 02-VBFW383A | HP FW Strainer (BFW101) Upstream Outlet ISO EQ | Pipe Rack 1st Level
| 234 | 02-VBFW383B | HP FW Strainer (BFW101) Upstream Outlet ISO EQ | Pipe Rack 1st Level
| 235 | 02-VBFW388A | IP FW Strainer (BFW106) Inlet Upstream ISO EQ | Pipe Rack 1st Level
| 236 | 02-VBFW388B | IP FW Strainer (BFW106) Inlet Upstream ISO EQ | Pipe Rack 1st Level
| 237 | 02-VBFW391A | IP FW Strainer (BFW106) Outlet Upstream ISO EQ | Pipe Rack 1st Level
| 238 | 02-VBFW391B | IP FW Strainer (BFW106) Outlet Upstream ISO EQ | Pipe Rack 1st Level
| 239 | 02-VBFW505A | HP Term Attemp. HP FW Downstream ISO EQ | Pipe Rack 2nd Level
| 240 | 02-VBFW505B | HP Term Attemp. HP FW Downstream ISO EQ | Pipe Rack 2nd Level
| 241 | 02-VBFW518A | HP BYP Attemp. IP FW CV Outlet ISO EQ | Pipe Rack 3rd Level
| 242 | 02-VBFW518B | HP BYP Attemp. IP FW CV Outlet ISO EQ | Pipe Rack 3rd Level
| 243 | 02-VBFW521A | HP FW Strainer (BFW100) Downstream Inlet ISO EQ | Pipe Rack 1st Level
| 244 | 02-VBFW521B | HP FW Strainer (BFW100) Downstream Inlet ISO EQ | Pipe Rack 1st Level
| 245 | 02-VBFW523A | HP FW Strainer (BFW100) Upstream Outlet ISO EQ | Pipe Rack 1st Level
| 246 | 02-VBFW523B | HP FW Strainer (BFW100) Upstream Outlet ISO EQ | Pipe Rack 1st Level
| 247 | 02-VBFW525A | HP FW Strainer (BFW101) Downstream Outlet ISO EQ | Pipe Rack 1st Level
| 248 | 02-VBFW525B | HP FW Strainer (BFW101) Downstream Outlet ISO EQ | Pipe Rack 1st Level
| 249 | 02-VBFW531A | HP Term Attemp. HP FW Upsteam ISO EQ | Pipe Rack 2nd Level
| 250 | 02-VBFW531B | HP Term Attemp. HP FW Upsteam ISO EQ | Pipe Rack 2nd Level
| 251 | 02-VBFW549A | HP FW Strainer (BFW101) Upstream Inlet ISO EQ | Pipe Rack 1st Level
| 252 | 02-VBFW549B | HP FW Strainer (BFW101) Upstream Inlet ISO EQ | Pipe Rack 1st Level
| 253 | 02-VBFW555A | HP FW Strainer (BFW100) Downstream Outlet ISO EQ | Pipe Rack 1st Level
| 254 | 02-VBFW555B | HP FW Strainer (BFW100) Downstream Outlet ISO EQ | Pipe Rack 1st Level
| 255 | 02-VBFW574A | HRH Term. Attemp. IP FW Upstream ISO EQ | Pipe Rack 2nd Level
| 256 | 02-VBFW574B | HRH Term. Attemp. IP FW Upstream ISO EQ | Pipe Rack 2nd Level
| 257 | 02-VBFW575A | HRH Term. Attemp. IP FW Downstream ISO EQ | Pipe Rack 2nd Level
| 258 | 02-VBFW575B | HRH Term. Attemp. IP FW Downstream ISO EQ | Pipe Rack 2nd Level
| 259 | 02-VBFW922A | TCA to CRT Strainer Downstream ISO EQ | CRT Area
| 260 | 02-VBFW922B | TCA to CRT Strainer Downstream ISO EQ | CRT Area
| 261 | 02-VCND128A | CND Pump A MAN ISO EQ | CND Pump Area
| 262 | 02-VCND128B | CND Pump A MAN ISO EQ | CND Pump Area
| 263 | 02-VCND160A | CND Iron Filter BYP Downstream ISO EQ | CND Pump Area
| 264 | 02-VCND160B | CND Iron Filter BYP Downstream ISO EQ | CND Pump Area
| 265 | 02-VCND163A | CND Iron Filter BYP Upstream ISO EQ | CND Pump Area
| 266 | 02-VCND163B | CND Iron Filter BYP Upstream ISO EQ | CND Pump Area
| 267 | 02-VCND172A | CND Iron Filter A Outlet EQ | CND Pump Area
| 268 | 02-VCND172B | CND Iron Filter A Outlet EQ | CND Pump Area
| 269 | 02-VCND174A | CND Iron Filter B Outlet EQ | CND Pump Area
| 270 | 02-VCND174B | CND Iron Filter B Outlet EQ | CND Pump Area
| 271 | 02-VCND194A | CND Pump B MAN ISO EQ | CND Pump Area
| 272 | 02-VCND194B | CND Pump B MAN ISO EQ | CND Pump Area
| 273 | 02-VCND329A | CND Pump C MAN ISO EQ | CND Pump Area
| 274 | 02-VCND329B | CND Pump C MAN ISO EQ | CND Pump Area
| 275 | 02-VCRH180A | AXS Letdown Low Flow CV Upstream ISO EQ | Pipe Rack 3rd Level
| 276 | 02-VCRH180B | AXS Letdown Low Flow CV Upstream ISO EQ | Pipe Rack 3rd Level
| 277 | 02-VCRH181A | AXS Letdown High Flow CV Upstream ISO EQ | Pipe Rack 3rd Level
| 278 | 02-VCRH181B | AXS Letdown High Flow CV Upstream ISO EQ | Pipe Rack 3rd Level
| 279 | 02-VCRH183A | AXS Letdown Low Flow CV Downstream ISO EQ | Pipe Rack 3rd Level
| 280 | 02-VCRH183B | AXS Letdown Low Flow CV Downstream ISO EQ | Pipe Rack 3rd Level
| 281 | 02-VCRH184A | AXS Letdown High Flow CV Downstream ISO EQ | Pipe Rack 3rd Level
| 282 | 02-VCRH184B | AXS Letdown High Flow CV Downstream ISO EQ | Pipe Rack 3rd Level
| 283 | 02-VHIS901A | IP Economizer FW Inlet MAN ISO EQ | HRSG West Ground Level
| 284 | 02-VHIS901B | IP Economizer FW Inlet MAN ISO EQ | HRSG West Ground Level
| 285 | 02-VHLS904A | LP FW Preheater Cold Inlet ISO EQ | HRSG NE Ground Level
| 286 | 02-VHLS904B | LP FW Preheater Cold Inlet ISO EQ | HRSG NE Ground Level
| 287 | 02-VHLS905A | LP FW Preheater Hot Inlet ISO EQ | HRSG NE Ground Level
| 288 | 02-VHLS905B | LP FW Preheater Hot Inlet ISO EQ | HRSG NE Ground Level
| 289 | 02-VHLS907A | LP FW Preheater Cold Outlet ISO EQ | HRSG NE Ground Level
| 290 | 02-VHLS907B | LP FW Preheater Cold Outlet ISO EQ | HRSG NE Ground Level
| 291 | 02-VHLS908A | LP FW Preheater Hot Outlet ISO EQ | HRSG NE Ground Level
| 292 | 02-VHLS908B | LP FW Preheater Hot Outlet ISO EQ | HRSG NE Ground Level
| 293 | 02-VHLS909A | LP FW Preheater BYP EQ | HRSG NE Ground Level
| 294 | 02-VHLS909B | LP FW Preheater BYP EQ | HRSG NE Ground Level