## Sheet1
Emergency Diesel Generator Monthly INSPECTION AND TEST
NAME OF INSPECTOR | DATE AND TIME
PRE-OPERATION CHECKS
BUILDING HEAT SET >50F
LOUVERS OPERATIONAL
HMI SELECTED ON LOCAL PANEL
GEN TRIP/SD RELAY RESET
KOHLER LOCAL SWITCH IN AUTO
"SYSTEM READY" ILLUMINATED ON ENGINE PANEL
DIESEL ENGINE CHECKS
FUEL TANK > 70% FULL
BATTERY VOLTAGES ARE OKAY
BATTERY CHARGER NO ALARM LIGHTS
OIL LEVEL IS OKAY
BATTERY TERMINALS OKAY
BATTERY LIQUID LEVEL OKAY
OPERATIONAL CHECKS
ENGINE OIL PRESSURE_________PSI
ENGINE COOLANT TEMP _________
BATTERY VDC _________
CHECK FOR UNUSUAL NOISE OR VIBRATION
ENGINE FILTERS FREE OF DEBRE
RECORD STOP TIME _________ AND RUN HRS _________
VISUALLY VERIFY NO OPACITY OR PLUME FROM EXHAUST STACK DURING OPERAITON